## Slide 1: Modelling of Domestic Cooling Loads and AC
Project Presentation

## Slide 2: Karachi Lahore Islamabad Sibi Larkana Hyderabad Problem Statement
MAX T = 40°C
RH = 75%
MAX T = 43°C
RH = 30%
MAX T = 38.0°C
RH = 40%
MAX T = 47.0°C
RH = 46%
MAX T = 46°C
RH = 24%
MAX T = 40.0°C
RH = 49%

## Slide 3: Solution?
What is the Solution to these Infinite Scenarios?

## Slide 4: Cooling Load Model
  Size of Room
  Solar Radiation
  No of Occupants
  …
Requirements
  Calculation
  Compilation
  ...
MATLAB
  Total Load
  Graphical Data
  Numeric Data
Results

## Slide 5: How?
The Timeline and Project Progression

## Slide 6: Loads Modelling Simulink Simscape Strategy Behind Modelling MATLAB Excel UI/UX
Identification of Cooling Loads
Modelling of Each Load Separately
Assembling all the Models
Modelling the Thermal and Fluid Properties
Creating Required Variables
User-Interface or User Control in Excel
1
2
3
4
5
6

## Slide 7
Loads

## Slide 8: Categorization
Category A
Category B
Sensible Loads (Direct)
Latent Loads (Moisture)

## Slide 9: Continued...
A (I)
A (II)
A (IV)
A (V)
A (VI)
A (VIII)
B (I)
B (II)
Walls and Windows
Solar
Lights
Occupants Sensible
Occupants Latent
Infiltration Sensible
Infiltration Latent
Fans

## Slide 10: Modelling in MATLAB
A(I)
A(VIII)
Master Script
A(VI) B(I)
A(II)
A(IV)
A(V) B(II)
Master Script
Evapor
Conde
Compr
Accum
TEV
Simulink Model

## Slide 11: Features
What the Model is Capable of?

## Slide 12: Example Scenario
Room
13 x 16 x 10.8 ft
Conditions
Environment Temperature = 52°C
Loads
Solar, Lights, Walls, Appliances, Infiltration, Occupants
Room Temperature = 40°C
Simulation
Time = 10000s , Time-Step = 1s
AC
1.5 Tons
Occupants
Lights
4 LED , 2 Tube Lights
2

## Slide 14: Results

## Slide 15: Continue..

## Slide 16: Results
Refrigeration OFF
Refrigeration ON
Environment Temperature = 52°C
Initial Room Temperature = 32°C
Target Temperature = 16°C

## Slide 17: Snapshots
A little peek in into the details

## Slide 18: Top-Level

## Slide 19: Cooling Loads

## Slide 20: Walls and Thermal Inertia

## Slide 21: Model of AC

## Slide 22: Moisture Control

## Slide 23: Summary of Features
Parameters Control in Excel
Dynamic or Constant Cooling Loads
Can simulate with or without AC
Auto-Compilation of Numerical Results in Excel
Selection of Simulation Time
Custom Properties of AC Components

## Slide 24: Benefits and Advantages
Behavior of Cooling Loads in different conditions
Performance of New AC Prototypes
Testing of Realistic Scenarios in AC Lab
Robust and Market Ready Product
Time Saving

## Slide 25: Time Saving
Field Tests
Time in MATLAB
Days
Minutes

## Slide 26: Energy Savings
Field Test
Cost Saved?
100 Units on Average Test
4015 PKR per Field Test (99%)

## Slide 27: Time Saving
Time Per Lab Simulation
Time in MATLAB
6 Hours
10 Minutes (97%)

## Slide 28: Future Developments
Graphical User Interface
Direct Integration with AC Lab Software
To be used in Dawlance Website
To be showcased at Dawlance Experience Centers
Machine Learning/AI

## Slide 29: Machine Learning
Units Consumed
Cost Saved?
1090.1 on average per day
32,703 PKR per day
(Up to 1 Million Per Month)

## Slide 30: Thanks!